**Certification – Smoke Alarm System for Class 1a buildings**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Attention: Local Approvals** | | | | | |
| **Property details** | | | | | |
| Lot: | Sec: | | | | DP: |
| Street address: | | | Locality: | | |
| Owner/s: | | | | | |
|  | | | | | |
| DA / CDC: No. | | | | Dated: | |
| This is to certify the automatic fire detection and alarm system were installed at the abovementioned premises in accordance with the following requirements:   1. **Smoke Alarms** - complying with AS 3786-2014 or listed in the SSL Register of Accredited Products, have been connected to the 240V mains electrical power having a standby power, being installed in the following locations:    1. in any storey containing bedrooms - between each area containing any bedrooms and the remainder of the dwelling, including any hallway associated with the bedroom or in each bedroom; and    2. any storey not containing bedrooms. 2. All alarms have been interconnected. | | | | | |
| Installer’s name: | | | | | |
| Address: | | | | | |
| Email address: | | | | | |
| Telephone: | | Licence No. | | | |
| Signature | | Date: | | | |