**Certification – Smoke Alarm System for Class 1b buildings**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Attention: Local Approvals** | | | | | |
| **Property details** | | | | | |
| Lot: | Sec: | | | | DP: |
| Street address: | | | Locality: | | |
| Owner/s: | | | | | |
|  | | | | | |
| DA / CDC: No. | | | | Dated: | |
| This is to certify the automatic fire detection and alarm system were installed at the abovementioned premises in accordance with the following requirements:   1. **Smoke Alarms** - complying with AS 3786-2014 or listed in the SSL Register of Accredited Products, have been connected to the 240V mains electrical power having a standby power, being installed in the following locations:    1. in every bedroom; and    2. In every corridor or hallway associated with a bedroom, or if there is no corridor or hallway, in an area between the bedrooms and the remainder of the building; and    3. On each other storey 2. **Lighting** to assist evacuation has been installed in accordance with Part 3.7.2.5 of the Building Code of Australia; and    1. Be activated by the smoke alarms located in the corridors or hallway associated with a bedroom of if there is no corridor or hallway in an area between the bedrooms and the remainder of the building,    2. Consist of:   A light incorporated within the smoke alarm; or  The lighting located in the corridor, hallway or area served by the smoke alarm. | | | | | |
| Installer’s name: | | | | | |
| Address: | | | | | |
| Email address: | | | | | |
| Telephone: | | Licence No. | | | |
| Signature | | Date: | | | |