**Certification – Smoke Alarm System for Class 1b buildings**

|  |
| --- |
| **Attention: Local Approvals**  |
| **Property details** |
| Lot:       | Sec:       | DP:       |
| Street address:       | Locality:       |
| Owner/s:       |
|  |
| DA / CDC: No.       | Dated:       |
| This is to certify the automatic fire detection and alarm system were installed at the abovementioned premises in accordance with the following requirements:1. **Smoke Alarms** - complying with AS 3786-2014 or listed in the SSL Register of Accredited Products, have been connected to the 240V mains electrical power having a standby power, being installed in the following locations:
	1. in every bedroom; and
	2. In every corridor or hallway associated with a bedroom, or if there is no corridor or hallway, in an area between the bedrooms and the remainder of the building; and
	3. On each other storey
2. **Lighting** to assist evacuation has been installed in accordance with Part 3.7.2.5 of the Building Code of Australia; and
	1. Be activated by the smoke alarms located in the corridors or hallway associated with a bedroom of if there is no corridor or hallway in an area between the bedrooms and the remainder of the building,
	2. Consist of:

A light incorporated within the smoke alarm; orThe lighting located in the corridor, hallway or area served by the smoke alarm. |
| Installer’s name:       |
| Address:       |
| Email address:       |
| Telephone:       | Licence No.       |
| Signature | Date:       |