**Certification – Fire Detection and Alarm System - Class 2-9**

|  |
| --- |
| **Attention: Local Approvals**  |
| **Property details** |
| Lot:       | Sec:       | DP:       |
| Street address:       | Locality:       |
| Owner/s:       |
|  |
| DA / CDC: No.       | Dated:       |
| This is to certify the automatic fire detection and alarm system were installed at the abovementioned premises in accordance with the following requirements:1. **Smoke Alarms** - complying with AS 1670.1-2015 or listed in the SSL Register of Accredited Products, have been connected to the 240V mains electrical power having a standby power, being installed in the following locations:
	1. In all paths of travel to exits.
	2. In all Bedrooms and Sole Occupancy Units.
2. All alarms have been interconnected and connected to the Fire Indicator Panel.
 |
| Installer’s name:       |
| Address:       |
| Email address:       |
| Telephone:       | Licence No.       |
| Signature | Date:       |